  Working Electrode Interface (Enzyme Subsystem): Covalently immobilized Glucose Oxidase (GOx) interface at a loading of 150 U/cm2.

  Bottom-Mounted Fluid Analytics / Permeation Probe: Electrochemical permeation cell components and diffusion chamber setup for measuring oxygen (DO2) and glucose (Dglu) diffusion coefficients.

  Resistance Temperature / Thermal Subsystem: Controlled testing infrastructure maintaining a physiological reference temperature of 37∘C for gravimetric swelling, equilibrium water content, and permeability validation.

  Optical & Spectroscopic Metrology Subsystem: X-ray Photoelectron Spectroscopy (XPS) depth profiling equipment and Fluorescence Recovery After Photobleaching (FRAP) apparatus used to verify SBMA outer layer thickness (1.5±0.3 μm) and mesh size correlation length (ξ=3.2±0.4 nm).

  Mechanical & Structural Profiling Subsystem: Cross-sectional scanning electron microscopy (SEM) / micrometer profilometers and Dynamic Mechanical Analysis (DMA) / ASTM D638 micro-tensile testing equipment to evaluate membrane thickness (20±2 μm) and Young's Modulus (1.1±0.15 MPa).